Supporting Information

Soil Microbiomes Divergently Respond to Heavy Metals and Polycyclic Aromatic Hydrocarbons in Contaminated Industrial Sites

Zhen-Ni Yanga,1, Ze-Shen Liua,1, Ke-Huan Wanga,b, Zong-Lin Lianga,b, Rashidin Abdughenia,b, Ye Huanga,b, Run-Hua Wanga,b, Hong-Lin Maa,b, Xiao-Kang Wanga,b, Mei-Ling Yangc, Bing-Ge Zhangd, De-Feng Lia, Cheng-Ying Jianga,*, Philippe F.-X. Corvinie and Shuang-Jiang Liua,f,*

a State Key Laboratory of Microbial Resources, Institute of Microbiology, Chinese Academy of Sciences, Beijing 100101, China

b University of Chinese Academy of Sciences, Beijing 100049, China

c School of Life Sciences, Hebei University, Baoding 071002, Hebei Province, China

d School of Public Health, Xuzhou Medical University, Xuzhou 221004, Jiangsu Province, China

e School of Life Sciences, University of Applied Sciences and Arts Northwestern Switzerland, Muttenz 4132, Switzerland

f State Key Laboratory of Microbial Technology, Microbial Technology Institute, Shandong University, Qingdao 226237, Shandong Province, China

1 The two authors contributed equally to this work.

* Correspondence: jiangcy@im.ac.cn (C. Y. Jiang); liusj@im.ac.cn or liusj@sdu.edu.cn (S. J. Liu)

Analysis of soil properties

Various soil properties, including moisture, pH, organic carbon, nitrogen in ammonia (NH4-N) and nitrogen in nitrate (NO3-N), were analyzed in triplicate [1].

The soil moisture was determined in triplicate by weighing 5 g of air-dried soil samples in glass vials, which were oven-dried at 105 °C. The moisture was calculated as the weight difference between the wet sample and the dry sample.

The pH of each soil sample was measured in a 1:2.5 soil:water ratio (4 g soil and 10 mL water). After rotation for one hour (150 rpm) in 50 mL centrifuge tubes, the soil pH was measured by a pH meter (FE28-Bio, METTLER TOLEDO, Switzerland).

Soil organic carbon (OC) was determined using K2Cr2O7-H2SO4 oxidation followed by absorbance measurement at 585 nm [2]. Nitrogen in ammonia (NH4-N) was measured according to the absorbance at 630 nm after the addition of sodium nitroprusate-phenol and sodium dichloroisocyanurate [3]. Nitrogen in nitrate (NO3-N) was measured according to the absorbance at 543 nm after coupling with N-(1-naphthalene)-ethylenediamine hydrochloric acid[4].

The recoveries of PAHs in samples A and E were measured in duplicates [5, 6]. Sample A was added with a total of 16 PAH standard solution of 3 mg kg-1 each. Sample E was added with FLO of 5,000 mg kg-1, FLA of 100 mg kg-1, PYR of 200 mg kg-1 and BaA of 100 mg kg-1. The recovery of each PAH was calculated as follows.

Recovery = Concentrationsample+amount-ConcentrationsampleAmount × 100%

Which ‘Concentrationsample+amount’ refers to the PAH concentration after adding the standard solutions of PAHs, ‘Concentrationsample’ refers to the PAH concentration in the sample and ‘Amount’ refers to the concentration of PAH added in the soil sample.

Reference:

[1] S. Geng, W. Cao, J. Yuan, Y. Wang, Y. Guo, A. Ding, Y. Zhu, J. Dou, Microbial diversity and co-occurrence patterns in deep soils contaminated by polycyclic aromatic hydrocarbons (PAHs), Ecotox. Environ. Safe. 203 (2020) 110931. https://doi.org/10.1016/j.ecoenv.2020.110931.

[2] J.H. Sato, C.C. de Figueiredo, R.L. Marchao, B.E. Madari, L.E.C. Benedito, J.G. Busato, D.M. de Souza, Methods of soil organic carbon determination in Brazilian savannah soils, Sci. Agr. 71 (4) (2014) 302-308. https://doi.org/Doi 10.1590/0103-9016-2013-0306.

[3] H. Liu, J. Mack, Q. Guo, H. Lu, N. Kobayashi, Z. Shen, A selective colorimetric and fluorometric ammonium ion sensor based on the H-aggregation of an aza-BODIPY with fused pyrazine rings, Chem. Commun. 47 (44) (2011) 12092-12094. https://doi.org/10.1039/c1cc15746a.

[4] P.F. Vendrell, J. Zupancic, Determination of Soil Nitrate by Transnitration of Salicylic-Acid, Commun. Soil Sci. Plan. 21 (13-16) (1990) 1705-1713. https://doi.org/Doi 10.1080/00103629009368334.

[5] Y.Y. Zhao, F.A. Duan, Z.J. Cui, J.L. Hong, S.Q. Ni, Insights into the vertical distribution of the microbiota in steel plant soils with potentially toxic elements and PAHs contamination after 60 years operation: Abundance, structure, co-occurrence network and functionality, Sci. Total Environ. 786 (2021) 147338. https://doi.org/10.1016/j.scitotenv.2021.147338.

[6] C. Wang, Y. Luo, H. Tan, H.K. Liu, F. Xu, H. Xu, Responsiveness change of biochemistry and micro-ecology in alkaline soil under PAHs contamination with or without heavy metal interaction, Environ. Pollut. 266 (2020) 115296. https://doi.org/10.1016/j.envpol.2020.115296.